## OverallPValues
PValue | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
95 | 0.95095 | 0.94341 | 0.93865 | 0.93056 | 0.9268
90 | 0.93608 | 0.92767 | 0.92242 | 0.91571 | 0.91208

## YearlyPValues
PValue | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
95 | 0.95095 | 0.94838 | 0.94993 | 0.94809 | 0.95023
90 | 0.93608 | 0.93256 | 0.93351 | 0.93297 | 0.93514

## P50Deviations
P50Deviation | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
P50 | 1 | 0.99476 | 0.98812 | 0.98151 | 0.97534

## Histograms
Bin | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
0.85 | 1 | 2 | 0 | 1 | 0
0.86 | 0 | 2 | 2 | 1 | 4
0.87 | 3 | 1 | 5 | 2 | 0
0.88 | 5 | 5 | 9 | 8 | 4
0.89 | 17 | 13 | 12 | 19 | 9
0.9 | 23 | 30 | 33 | 24 | 17
0.91 | 38 | 50 | 37 | 36 | 57
0.92 | 56 | 67 | 74 | 71 | 60
0.93 | 95 | 109 | 95 | 107 | 98
0.94 | 158 | 158 | 137 | 166 | 155
0.95 | 198 | 225 | 203 | 222 | 208
0.96 | 315 | 265 | 306 | 317 | 315
0.97 | 361 | 374 | 373 | 347 | 336
0.98 | 461 | 446 | 445 | 435 | 452
0.99 | 521 | 523 | 506 | 490 | 529
1 | 503 | 518 | 517 | 514 | 526
1.01 | 520 | 510 | 484 | 510 | 501
1.02 | 461 | 499 | 444 | 456 | 465
1.03 | 389 | 394 | 422 | 416 | 387
1.04 | 330 | 309 | 348 | 314 | 303
1.05 | 217 | 188 | 231 | 214 | 229
1.06 | 160 | 152 | 145 | 146 | 149
1.07 | 85 | 80 | 91 | 101 | 99
1.08 | 44 | 37 | 51 | 45 | 54
1.09 | 27 | 27 | 19 | 22 | 31
1.1 | 7 | 12 | 7 | 11 | 6
1.11 | 3 | 1 | 3 | 3 | 3
1.12 | 1 | 1 | 0 | 1 | 1
1.13 | 0 | 1 | 0 | 0 | 1
1.14 | 1 | 1 | 1 | 1 | 1

## UsedInputs
Parameter | Value | Units
Module Length | 2 | m
Module Width | 1 | m
Module Power | 460 | W
Module Power Temp Coeff | -0.00295 | /degC
Bifaciality | 0 | -
Cell to Cell Mismatch | 0.004 | -
Number of Inverters | 1 | -
Strings per Inverter | 1 | -
Modules per String | 1 | -
Module Height Above Ground | 1.5 | m
Row Pitch | 5.6 | m
Module Azimuth | 90 | degrees
Module Tilt | 30 | degrees
Inverter Efficiency | 0.97 | -
Inverter to Inverter Mismatch | 0 | -
String to String Mismatch | 0 | -
Module to Module Mismatch | 0.01 | -
Inverter Wiring Loss | 0 | -
String Wiring Loss | 0.01 | -
Max Power Tracking Loss | 0 | -
Beam Multiplier Front | 1 | -
Isotropic Multiplier Front | 1.01 | -
Beam Multiplier Rear | 1 | -
Isotropic Multiplier Rear | 1 | -
Albedo | 0.2 | -
Soiling Front | 0.02 | -
Soiling Rear | 0.01 | -
Spectral Correction | 1 | -
Extra Irradiance | 1 | -
Thermal Uc | 29 | W/m2K
Thermal Uv | 0 | W/m3sK
Thermal Alpha | 0.9 | -
Annual Degradation Rate | 0.006 | /year
DC Health | 1 | -
Availability | 0.99 | -
Curtailment | 0 | -
Yield Modifier | 1 | -
Undulating Ground | 1 | -
Number of Simulations | 5000 | -
Number of Years | 5 | years
Bin Min | 0.85 | -
Bin Delta | 0.01 | -
P Value 90 | 90 | -
P Value 95 | 95 | -

## Distributions
| sim_to_sim | yr_to_yr | step_to_step
GHI | ['Gaussian', 1.0, 0.01] | ['SkewedGaussian', 1.029, 0.04, -5.0]
ModulePower | ['Gaussian', 1.0, 0.0217]
Uc | ['Gaussian', 1.0, 0.0103]
Availability | ['Weibull', 1.0, 0.024, 1.6, False]
InverterEfficiency | ['Gaussian', 1.0, 0.0103]