## PValues
PValue | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12
50 | bar: Year 1 to Year 12
90 | 0.89148 | 0.89345 | 0.89536 | 0.89074 | 0.89291 | 0.89276 | 0.89306 | 0.8954 | 0.89813 | 0.8811 | 0.89745 | 0.89384
95 | 0.85934 | 0.87233 | 0.86427 | 0.86687 | 0.86016 | 0.85777 | 0.8524 | 0.86611 | 0.86456 | 0.85676 | 0.86986 | 0.85864

## P50Deviations
P50Deviation | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12
P50 | 1 | 0.99015 | 0.98505 | 0.98107 | 0.97405 | 0.97235 | 0.96945 | 0.96362 | 0.95616 | 0.95651 | 0.94734 | 0.94408

## Histograms
Bin | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12
0.75 | 1 | 1 | 2 | 0 | 3 | 0 | 2 | 3 | 2 | 1 | 1 | 4
0.76 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0
0.77 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 1 | 2 | 1 | 4 | 4
0.78 | 2 | 1 | 1 | 1 | 2 | 4 | 3 | 1 | 1 | 3 | 0 | 2
0.79 | 2 | 1 | 2 | 3 | 4 | 2 | 1 | 3 | 2 | 5 | 1 | 5
0.8 | 2 | 3 | 1 | 2 | 2 | 3 | 1 | 0 | 4 | 1 | 2 | 6
0.81 | 4 | 4 | 3 | 4 | 2 | 5 | 7 | 1 | 6 | 3 | 4 | 2
0.82 | 7 | 2 | 4 | 0 | 4 | 4 | 5 | 5 | 2 | 2 | 1 | 1
0.83 | 6 | 4 | 4 | 2 | 8 | 6 | 9 | 12 | 4 | 7 | 2 | 5
0.84 | 12 | 9 | 12 | 9 | 7 | 12 | 12 | 6 | 11 | 12 | 6 | 8
0.85 | 10 | 9 | 7 | 7 | 11 | 7 | 10 | 11 | 11 | 12 | 8 | 10
0.86 | 12 | 13 | 12 | 17 | 10 | 14 | 9 | 6 | 7 | 19 | 11 | 8
0.87 | 11 | 12 | 15 | 16 | 14 | 14 | 13 | 9 | 13 | 22 | 19 | 14
0.88 | 23 | 19 | 10 | 24 | 16 | 17 | 15 | 20 | 12 | 20 | 13 | 17
0.89 | 13 | 24 | 22 | 19 | 24 | 13 | 20 | 21 | 18 | 11 | 22 | 16
0.9 | 32 | 30 | 27 | 22 | 25 | 24 | 15 | 29 | 21 | 26 | 24 | 20
0.91 | 31 | 29 | 33 | 30 | 24 | 35 | 36 | 31 | 24 | 17 | 32 | 26
0.92 | 23 | 25 | 34 | 29 | 29 | 25 | 30 | 26 | 31 | 34 | 35 | 23
0.93 | 37 | 33 | 38 | 40 | 32 | 36 | 42 | 42 | 36 | 25 | 36 | 45
0.94 | 42 | 43 | 25 | 42 | 33 | 43 | 50 | 43 | 28 | 32 | 37 | 40
0.95 | 32 | 40 | 39 | 36 | 38 | 31 | 41 | 29 | 46 | 40 | 37 | 39
0.96 | 42 | 44 | 46 | 37 | 36 | 38 | 50 | 44 | 49 | 48 | 39 | 41
0.97 | 42 | 51 | 41 | 57 | 46 | 46 | 34 | 51 | 50 | 58 | 53 | 43
0.98 | 46 | 45 | 38 | 40 | 44 | 43 | 36 | 34 | 53 | 44 | 46 | 58
0.99 | 48 | 38 | 51 | 40 | 59 | 54 | 38 | 51 | 42 | 44 | 47 | 42
1 | 41 | 35 | 47 | 47 | 56 | 43 | 41 | 50 | 43 | 37 | 45 | 51
1.01 | 46 | 41 | 48 | 47 | 49 | 52 | 46 | 50 | 38 | 52 | 45 | 41
1.02 | 57 | 46 | 35 | 48 | 50 | 47 | 49 | 41 | 50 | 42 | 46 | 49
1.03 | 44 | 46 | 39 | 34 | 29 | 35 | 58 | 50 | 38 | 38 | 31 | 34
1.04 | 36 | 42 | 40 | 39 | 50 | 38 | 39 | 26 | 50 | 44 | 31 | 44
1.05 | 27 | 33 | 49 | 29 | 26 | 39 | 37 | 33 | 33 | 29 | 47 | 27
1.06 | 28 | 26 | 36 | 36 | 33 | 38 | 34 | 33 | 28 | 27 | 40 | 34
1.07 | 28 | 36 | 38 | 31 | 30 | 34 | 36 | 32 | 23 | 28 | 27 | 32
1.08 | 36 | 23 | 22 | 31 | 32 | 32 | 22 | 29 | 33 | 41 | 31 | 23
1.09 | 29 | 26 | 25 | 32 | 30 | 25 | 18 | 19 | 24 | 27 | 25 | 28
1.1 | 26 | 23 | 16 | 19 | 16 | 19 | 16 | 27 | 27 | 24 | 28 | 31
1.11 | 17 | 21 | 15 | 11 | 14 | 10 | 18 | 15 | 25 | 22 | 22 | 30
1.12 | 11 | 25 | 17 | 23 | 14 | 22 | 28 | 17 | 22 | 19 | 12 | 19
1.13 | 23 | 15 | 16 | 10 | 12 | 21 | 11 | 18 | 12 | 17 | 14 | 10
1.14 | 15 | 10 | 14 | 15 | 13 | 12 | 11 | 16 | 20 | 10 | 11 | 11
1.15 | 11 | 11 | 13 | 12 | 21 | 10 | 12 | 8 | 10 | 11 | 8 | 13
1.16 | 10 | 8 | 15 | 10 | 9 | 5 | 7 | 15 | 7 | 9 | 9 | 8
1.17 | 9 | 13 | 8 | 12 | 10 | 9 | 4 | 7 | 8 | 8 | 11 | 9
1.18 | 5 | 11 | 5 | 9 | 5 | 8 | 4 | 6 | 7 | 5 | 6 | 3
1.19 | 4 | 8 | 10 | 8 | 5 | 6 | 6 | 9 | 11 | 0 | 2 | 10
1.2 | 5 | 3 | 5 | 5 | 4 | 3 | 7 | 6 | 1 | 6 | 7 | 1
1.21 | 3 | 3 | 3 | 4 | 2 | 4 | 2 | 2 | 6 | 4 | 6 | 2
1.22 | 4 | 3 | 3 | 3 | 7 | 3 | 3 | 2 | 2 | 2 | 2 | 1
1.23 | 1 | 1 | 1 | 2 | 2 | 1 | 3 | 3 | 3 | 3 | 3 | 2
1.24 | 4 | 11 | 10 | 4 | 7 | 6 | 7 | 7 | 4 | 8 | 9 | 8

## UsedInputs
Parameter | Value | Units
Module Length (m) | 2 | m
Module Width (m) | 1 | m
Module Power (W) | 460 | W
Module Efficiency Temp Coeff | 0.00295 | /degC
Module Height Above Ground (m) | 1.5 | m
Bifaciality | 0.8 | -
Cell to Cell Mismatch | 0.004 | -
Number of Inverters | 1 | -
Strings per Inverter | 1 | -
Modules per String | 1 | -
Row Pitch (m) | 5.6 | m
Module Azimuth (degrees) | 90 | degrees
Module Tilt (degrees) | 30 | degrees
Inverter Efficiency | 0.98 | -
Inverter to Inverter Mismatch | 0 | -
String to String Mismatch | 0 | -
Module to Module Mismatch | 0.01 | -
Inverter Wiring Loss | 0.01 | -
String Wiring Loss | 0.01 | -
Max Power Tracking Loss | 0 | -
Beam Multiplier Front | 1 | -
Isotropic Multiplier Front | 1.01 | -
Beam Multiplier Rear | 1 | -
Isotropic Multiplier Rear | 1 | -
Fallback Albedo | 0.2 | -
Fallback Soiling Front | 0.02 | -
Fallback Soiling Rear | 0.002 | -
Fallback Spectral Correction | 1 | -
Extra Irradiance | 1 | -
Thermal Uc | 25 | W/m2K
Thermal Uv | 1.2 | W/m3sK
Thermal Alpha | 0.9 | -
Annual Degradation Rate | 0.005 | /year
DC Health | 1 | -
Availability | 0.98 | -
Curtailment | 0.02 | -
Yield Modifier | 1 | -
Undulating Ground | 1 | -
Number of Simulations | 1000 | -
Number of Years | 12 | years
P Min | 0.75 | -
P Delta | 0.01 | -
P Value 50 | 50 | -
P Value 90 | 90 | -
P Value 95 | 95 | -

## Distributions
| sim_to_sim | yr_to_yr | step_to_step
AnnualDegradationRate | ['SkewedGaussian', 6.0, 1.0, 0.002] | ['Gaussian', 1.0, 0.02]
GHI | ['Gaussian', 1.0, 0.06] | ['Gaussian', 1.0, 0.04] | ['SkewedGaussian', -2.0, 0.95, 0.05]
Temperature | ['Gaussian', 1.0, 0.06] | ['Gaussian', 1.0, 0.04] | ['SkewedGaussian', -2.0, 0.95, 0.05]
SoilingFront | ['Weibull', 0.0, 0.04, 2.0, False] | ['Gaussian', 0.08, 0.04]